## Sheet1
Ground Water Monitoring Form Specifications
Label text.value | Input Type | Class | Post Label | Placeholder | Maxlength | Size | Required | Validation | Lookups | Textbox binding to foreign database TABLE.FIELD
Ground Water Monitoring Form | Textbox | standard input |  |  | 18 | 18 | TRUE |  | Potentially | SITE.STATION | Sholto Comment
Site ID | Textbox | standard input |  |  | 18 | 18 | TRUE |  | Potentially | SITE.STATION | Sholto Comment
Job Name | Textbox | standard input |  |  | 5 | 5 | TRUE |  |  | AREASMT.ASSTYPE
Basin | ComboBox | standard input |  |  | 8 | 8 |  |  |  | SITE.CATEGORY1
Wellfield | ComboBox | standard input |  |  | 8 | 8 |  |  | Potentially | SITE.CATEGORY2
Recorded By | Textbox | standard input |  |  | 15 | 15 |  |  | SMAUD,CJ | AREASMT.ASSOFFICER
Date | Date Format (dd/mm/yyyy) | standard input |  |  |  |  | TRUE |  |  | AREASMT.DATE¦HYDMEAS.DATE¦PUMPTEST.TESTDATE¦PUMPREAD.TESTDATE¦GWTRACE/SAMPLES.DATE¦GWTRACER/SAMPLES.DATE
Time | 24hr Time Format [hhmm] | standard input | [hhmm] |  | 4 | 4 | TRUE | Number (0000) |  | STNVISIT.STARTTIME | The Groundwater Monitoring rounds are more like station visits than Baseline Assessments
Free Gas Reading (Methane) | Textbox | standard input | ml/g |  | 15 (6 decimals) | 15 |  | Number (00000000.000000) |  | RESULTS.VALUE ¦ RESULTS.VARIABLE = 1011
Well Type | Label | Sub Heading | [8 empty] | STP Lookup & validation
Monitoring | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SITE.STNTYPE
Extraction | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SITE.STNTYPE
Other | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SITE.STNTYPE
Well Material | Label | Sub Heading
PVC | RadioBox | standard input |  |  |  |  | ONE OF |  |  | CASING.CASETYPE
Steel | RadioBox | standard input |  |  |  |  | ONE OF |  |  | CASING.CASETYPE
Other | RadioBox | standard input |  |  |  |  | ONE OF |  |  | CASING.CASETYPE
Purge Setup | Label | Sub Heading
Well Head Condition | Textbox | standard input |  |  | 6400 | 30 |  |  |  | HYDRLMP.COMMENT | This is a dated field based on the monitoring round so need to have date in the key
Water Level Depth | Textbox | standard input | (WL in m BTOC) |  | 10 (3 decimals) | 10 |  | Number (000000.000) |  | HYDMEAS.VALUE ¦ HYDMEAS.VARIABLE = 110
Measurement Point Description | Textbox | standard input |  |  | 60 | 60 | TRUE (if no entry in row 22 above) |  |  | HYDRLMP.MEASPTDESC
Total Depth of Well | Textbox | standard input | (TD in m BTOC) |  |  |  |  | Number (000.000) |  | GWHOLE.DEPTHDRILL
Well Diameter | Textbox | standard input | (D in mm) |  | 8 (3 dec) |  |  | Number (0000.000) |  | CASING.OUTDIAM¦CASING.DEPTHFROM=0.00 | Should the height above ground level (HYDRLMP) be the same as the CASING.DEPTHFROM value??
Bailer Type | Label | SubSubHeading | [8 empty] | OVERLOADED FIELD - should be added to V.11 of Hydstra
PVC | RadioBox | standard input |  |  |  |  | ONE OF |  |  | PUMPTTEST.COMMENTS
Steel | RadioBox | standard input |  |  |  |  | ONE OF |  |  | PUMPTTEST.COMMENTS
Teflon | RadioBox | standard input |  |  |  |  | ONE OF |  |  | PUMPTTEST.COMMENTS
Other | RadioBox | standard input |  |  |  |  | ONE OF |  |  | PUMPTTEST.COMMENTS
Pump Type | Label | SubSubHeading
Submersible | RadioBox | standard input |  |  |  |  | ONE OF
Bladder | RadioBox | standard input |  |  |  |  | ONE OF |  |  | PUMPTTEST.COMMENTS | OVERLOADED FIELD - should be added to V.11 of Hydstra
Other | RadioBox | standard input |  |  |  |  | ONE OF |  |  | PUMPTTEST.COMMENTS | OVERLOADED FIELD - should be added to V.11 of Hydstra
Notes | TextArea | rows="4" cols="50 |  |  | 64000 | rows="4" cols="50 |  | Text [200] |  | PUMPTTEST.COMMENTS
Pump Intake Setting | Label | SubSubHeading
Depth | Textbox | standard input | (m BTOC) |  | 6 (2 decmials) | 6 |  | Number (000.00) |  | PUMPTEST.PUMPDEPTH
Field Parameter Measurements | Label | SubSubHeading
Time | 24hr Time Format [hhmm] | standard input | [hhmm] |  | 4 | 4 |  | Number (0000) |  | PUMPTEST.TIME | My suggestion is to store all the pumptest variables in GWTRACER to keep them together as a pumptest
Volume Purged | Textbox | standard input | (L) | [6 empty] | PUMPTEST.SPARE3
DO | Textbox | standard input | (mg/L) |  | 15 (6 decimals) | 15 |  | Number (00000000.000000) |  | RESULTS.VALUE ¦ RESULTS.VARIABLE = 110
DO ppm | Textbox | standard input | (ppm) |  | 15 (6 decimals) | 15 |  | Number (00000000.000000) |  | RESULTS.VALUE ¦ RESULTS.VARIABLE = 110
Electrical Condutivitiy | Textbox | standard input | (mS/cm) |  | 15 (6 decimals) | 15 |  | Number (00000000.000000) |  | RESULTS.VALUE ¦ RESULTS.VARIABLE = 110
Electrical Condutivitiy | Textbox | standard input | (ms per cm) |  | 15 (6 decimals) | 15 |  | Number (00000000.000000) |  | RESULTS.VALUE ¦ RESULTS.VARIABLE = 110
pH | Textbox | standard input |  |  | 15 (6 decimals) | 15 |  | Number (00000000.000000) |  | RESULTS.VALUE ¦ RESULTS.VARIABLE = 110
0RP or Red0x | Textbox | standard input | (mV) |  | 15 (6 decimals) | 15 |  | Number (00000000.000000) |  | RESULTS.VALUE ¦ RESULTS.VARIABLE = 110
Temp | Textbox | standard input | (°C) |  | 15 (6 decimals) | 15 |  | Number (00000000.000000) |  | RESULTS.VALUE ¦ RESULTS.VARIABLE = 110
Turbidity | Textbox | standard input | (NTU) |  | 15 (6 decimals) | 15 |  | Number (00000000.000000) |  | RESULTS.VALUE ¦ RESULTS.VARIABLE = 110
Measurement Comments | TextArea | rows="4" cols="50 |  |  | 64000 | rows="4" cols="50 |  |  |  | SAMPLE.COMMNT
Discharge water disposal | Label | SubSubHeading
Drums | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLE.SPARE2 ¦ SAMPLE.SAMPTYPE = DISCH
Sanitary | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLE.SPARE2 ¦ SAMPLE.SAMPTYPE = DISCH
Sewer Storm | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLE.SPARE2 ¦ SAMPLE.SAMPTYPE = DISCH
Sewer | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLE.SPARE2 ¦ SAMPLE.SAMPTYPE = DISCH
Other | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLE.SPARE2 ¦ SAMPLE.SAMPTYPE = DISCH
Other Comment | TextArea | rows="4" cols="50 |  | e.g. back into dam | 64000 | rows="4" cols="50 |  |  |  | SAMPLE.COMMNT
Well Sampling | Label | SubHeading | [7 empty] | PUMPTEST.COMMENT | OVERLOADED FIELD - should be added to V.11 of Hydstra
Sample Taken (Yes/No) | CheckBox | standard input | [7 empty] | AREASMT.SAMPFLAG | Does this match up with the are.import.ini allocation?
Sampling Method | DropDown | standard input |  |  | 2 | 2 |  |  | AI,AS,PA | SAMPLES.COLLMETH
BOTTLE NUMBER | Textbox | standard input |  |  | 20 | 20 | TRUE |  |  | SAMPLES.BOTTLE
SAMPLE NUMBER | Textbox | standard input |  |  | 30 | 30 | TRUE |  |  | SAMPLES.SAMPNUM
BOTTLE TYPE | DropDown | standard input | [6 empty] | amber glass,plastic | SAMPLES.SPARE2
Sample Type | Label | SubSubHeading
PRIMARY | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLES.SAMPTYPE
DUPE1 | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLES.SAMPTYPE
DUPE2 | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLES.SAMPTYPE
DUPE3 | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLES.SAMPTYPE
TRIPCLICATE1 | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLES.SAMPTYPE
TRIPCLICATE2 | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLES.SAMPTYPE
TRIPCLICATE3 | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLES.SAMPTYPE
RINSATE1 | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLES.SAMPTYPE
RINSATE2 | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLES.SAMPTYPE
RINSATE3 | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLES.SAMPTYPE
TRIP BLANK | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLES.SAMPTYPE
TRIP SPIKE | RadioBox | standard input |  |  |  |  | ONE OF |  |  | SAMPLES.SAMPTYPE
Sample Comment | TextArea | rows="4" cols="50 |  |  | 64000 | rows="4" cols="50 |  |  |  | SAMPLES.COMMNT